## Slide 1
SIH 26073 · PHASE 9
SkyGuard AI
A self-healing weather observation network
Detect faults. Preserve genuine weather. Explain every decision. Run live or fully offline.
578,448 observations
24 Indian stations
51 tests pass
Software · AI/ML · Disaster management
Notes: Open with the decision: SkyGuard is an end-to-end software solution for the AWS anomaly problem, with both controlled offline proof and genuine live observations.

## Slide 2
SIH PROBLEM FIT
The problem is trust—not just thresholding
02
Three signals
Temperature
Pressure
Relative humidity
A spike may be a failed sensor—or a real regional event. The system must know the difference in real time.
Detect
spikes, drift, frozen and transport faults
Distinguish
genuine weather from sensor failure
Explain
severity, confidence and root cause
Act
correct safely and recommend maintenance
MANDATORY SOFTWARE SCOPE: COMPLETE
Notes: Frame the challenge as trustworthy observations. Emphasize that the public statement asks for real-time anomaly detection, genuine-weather separation, confidence, explanation and sensor health.
[Sources]
- https://sih-fit.vercel.app/problem/SIH26073
- https://github.com/jeevansai-hub/SIH-2026-/blob/main/ps_2026/README.md
[/Sources]

## Slide 3
DELIVERY JOURNEY
Nine phases turned a concept into evidence
03
01–03
Data & benchmark
Verified source data, 13-fault library and 72 online-safe features.
04–06
Models & safe repair
Calibrated detection, weather protection, diagnosis, correction and health.
07–09
Platform & delivery
Streaming API, dashboard, genuine live feed, verification and SIH package.
ALL PHASES COMPLETE
Notes: Use this timeline to show that the project was built in dependency order: provenance first, models second, delivery last.

## Slide 4
SYSTEM ARCHITECTURE
One pipeline serves offline proof and live operation
04
INPUT
NOAA benchmark
Live METAR
Replay scenarios
→
QUALITY
Schema + QC
Temporal features
Neighbour context
→
DECISION
Fault probability
Weather decision
Root cause + abstain
→
ACTION
Correction + interval
Health score
Maintenance priority
→
OUTPUT
Dashboard
REST API
CSV incident report
Frozen 2024 model policy
No future leakage · explicit unknown outcome · corrections remain advisory
Notes: Walk left to right. Both offline replay and live observations enter the same quality, feature and decision path. The frozen policy prevents demo-time threshold changes.

## Slide 5
DATA EVIDENCE
The benchmark is genuine, hashed and leakage-safe
05
NOAA/NCEI Global Hourly ISD · India · 2022–2024
Evidence | Value | Validation
Processed observations | 578,448 | Deduplicated
Stations / clusters | 24 / 4 | Metadata checked
Source files | 72 observations | SHA-256 manifest
Clean candidates | 98.4761% | Range + quality screened
Model split | 2022 / 2023 / 2024 | Train / select / locked test
Unseen station holdout | 4 stations | Never trained
Fault library | 546 episodes | 13 classes + weather
14/14 SOURCE CHECKS PASS
Notes: This is the foundation of the credibility story. The fault labels are controlled injections, but the underlying meteorological observations and metadata are genuine official data.
[Sources]
- https://www.ncei.noaa.gov/products/land-based-station/integrated-surface-database
[/Sources]

## Slide 6
LOCKED 2024 RESULTS
The model catches episodes with low false-alarm pressure
06
Chart: 
| Precision | Recall | F1 | AUCPR | Episode recall
Unseen time | 76.92 | 39.82 | 52.47 | 46.77 | 74.31
Unseen stations | 78.57 | 44 | 56.41 | 51.83 | 75
WEATHER PROTECTION
87.97% F1
824 regional-weather rows · 1.699% fault FPR
EVENT DECISION
99.19%
Accuracy is contextual; use F1/AUCPR for faults
FALSE ALARMS
0.031/day
Per station-day on unseen time
Notes: Do not call 99.19% the model's only accuracy. Anomalies are rare, so present precision, recall, F1, AUCPR, false alarms and episode recall together.

## Slide 7
SAFE REPAIR
Correction improved values—but automation stays gated
07
TEMPERATURE
1.66 °C
corrected MAE
85.64% error reduction
PRESSURE
1.56 hPa
corrected MAE
98.63% error reduction
HUMIDITY
12.92% RH
corrected MAE
57.86% error reduction
87
automatic temperature/pressure repairs
zero measured false corrections across both locked 2024 holdouts
HUMIDITY: REVIEW ONLY
Coverage is limited by missed detection and affected-sensor inference; advisory output remains the default.
Notes: This directly resolves the earlier limitation: we improved review coverage, calibrated uncertainty by split, and added strict automatic gates. We did not claim all corrections are safe to apply automatically.

## Slide 8
LIVE OPERATION
Genuine live observations now use the same decision path
08
REPORTING
12 / 14
configured Indian stations
SNAPSHOT
400
genuine observations
REFRESH
5 min
optional dashboard schedule
Reported: temperature + QNH pressure · Derived: relative humidity
Notes: Switch the live mode on during the demo. Be precise: the feed is genuine METAR terminal data. Humidity is derived from temperature and dew point. Live alerts are signals; benchmark accuracy comes from the locked labelled tests.
[Sources]
- https://connect.aviationweather.gov/data/api/
[/Sources]

## Slide 9
SIH COMPLIANCE
Every mandatory software output is demonstrated
09
Statement requirement | SkyGuard implementation | Status
Real-time anomaly detection | Streaming engine + live refresh + cache | Complete
Faults and communication errors | 13-class benchmark + stateful QC | Complete
Temporal / seasonal learning | Causal rolling, EWMA and seasonal features | Complete
Multivariate consistency | Cross-sensor and calibrated event model | Complete
Weather vs sensor failure | Neighbour agreement + regional scenario | Complete
Confidence and explanation | Calibration, abstention, evidence text | Complete
Health and maintenance | Sensor score, priority and action | Complete
Correction / imputation | Uncertainty-aware advisory correction | Optional done
Dashboard and deployability | Offline/local web UI, API and report export | Complete
Production gap: replace the public METAR adapter with the official IMD AWS endpoint and validate on confirmed field faults.
Notes: This is the honest compliance answer: complete for the SIH software prototype, not yet an operational IMD deployment. Hardware is not required for this team-constrained solution.
[Sources]
- https://sih-fit.vercel.app/problem/SIH26073
[/Sources]

## Slide 10
READY FOR SIH DEMONSTRATION
Trust every weather reading.
SkyGuard detects, distinguishes, diagnoses, explains, corrects safely and prioritizes maintenance—live or fully offline.
FINAL PROOF
51
automated tests pass
14 / 14
final delivery checks
PHASES 0–9 COMPLETE
Next pilot step
Connect the official IMD AWS stream and collect confirmed maintenance labels for operational acceptance.
SkyGuard AI · SIH 26073
Notes: Close on the outcome and ask judges to test both scenarios: one-station drift and regional weather. Then show the live feed. Do not overclaim production readiness.